P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	WRI Boathouse 
	Quote #:
	4226-04R

	Location:
	Morrilton, AR
	Bid Date:
	

	Architect:
	
	Date:
	

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	L-1
	Faucet: T&S Brass B-2711-VF05
	311.00

	 
	Drain: McGuire 155A
	53.43

	 
	P-Trap: McGuire 8872C
	94.99

	
	1 ¼” Set Screw Escutcheon: McGuire 127125O
	23.00

	
	Stops & Supplies: McGuire LFH2167LKF
	184.84

	
	Insulation: McGuire PW2000
	169.55

	
	Nipple: McGuire N6
	37.70ea

	
	TMV if Required: Leonard 170A-LF
	196.00

	
	Carrier: Josam 17100
	1557.00

	
	
	

	 S-1
	Faucet: T&S Brass B-0231-EE
	368.50

	
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire 8912C
	105.57

	
	1 ½” Set Screw Escutcheon: McGuire 127150O
	23.34

	
	Stops & Supplies: McGuire LFH2167LKF
	184.84

	
	Nipple: McGuire N6
	37.70ea

	
	TMV if Required: Leonard 170A-LF
	196.00

	
	
	

	FS-1
	Floor Sink: Josam 49360A-Y-NB-HG-55
	6353.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
