P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Mount St Mary Catholic HS Endzone Field House
	Quote #:
	51126-08R

	Location:
	OKC, OK
	Bid Date:
	5/15/2026

	Architect:
	
	Date:
	

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	L-1
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-1
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	26.40

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	MSB-1
	Mop Sink: Stern Williams HL-1810
	1014.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	22.50

	 
	Faucet: Stern Williams T-10-VB
	254.00

	
	Mop Hanger: Stern Williams T-40
	61.00

	
	Hose & Hook: Stern Williams T-35
	60.00

	
	
	

	FS-1
	Floor Sink: Josam 49420-Y-NB-3
	9794.0

	
	
	

	FS-2
	Floor Sink: Josam 49320A-Y-NB
	5387.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-3
	2370.00

	
	5”-6” 21500-Z-22-3
	2873.00

	
	8”     21500-Z-22-3
	3372.00

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-51
	1947.00

	
	6” 25016-T-51
	3373.00

	
	8” 25018-T-51
	4660.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
