P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	RMTC Building 14304
	Quote #:
	5626-04R

	Location:
	NLR, AR
	Bid Date:
	5/13/2026

	Architect:
	Lewis and Associates 
	Date:
	5/6/2026

	Engineer:
	Lewis and Associates 
	Page 1 of  1

	
	THIS QUOTE TO MEET BAA
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	L-1
	Faucet: T&S Brass B-2711-AM
	313.00

	
	1070 Listed TMV: Leonard 170-LF-BP
	237.00

	
	Drain: McGuire 155A
	53.43

	
	P-Trap: McGuire C8872C
	82.88

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	L-2
	Faucet: T&S Brass B-2711-AM
	313.00

	
	1070 Listed TMV: Leonard 170-LF-BP
	237.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	SH-1
	Shower Valve: Leonard 4500-C-10-2S
	495.00

	
	
	

	SH-2
	Shower Valve: Leonard 4500-D2L-C-10-2S-101P(G)
	1110.00

	
	
	

	S-1 
	Faucet: T&S Brass B-1122
	270.50

	
	Drain: McGuire 1151AWC X2
	162.10EA

	
	P-Trap: McGuire C8912C
	90.55

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	1070 Listed TMV: Leonard 170-LF-BP
	237.00

	
	Insulation: McGuire PW2000
	161.48

	 
	 
	 

	S-2
	Faucet: T&S Brass B-1122
	270.50

	
	Drain: McGuire 151A
	66.78

	
	P-Trap: McGuire C8912C
	90.55

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	1070 Listed TMV: Leonard 170-LF-BP
	237.00

	
	Insulation: McGuire PW2000
	161.48

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y-VP-50
	1063.00

	
	
	

	FD-2
	Floor Drain: Josam 30000-6E1-Y-50-VP
	1696.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	GWH-1
	Tankless Rack System: Rinnai TRW02CXIN
	7320.00

	
	Cascade Harness: REU-CSA-C1
	76.00EA

	
	Commecial Neutralization Tank W/ Media 103000067
	801.00

	
	Aquastat 109000735
	497.00

	
	Digital Timer 109000733 if Required
	882.00

	
	EST FREIGHT 
	350.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
