P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Rison Gym
	Quote #:
	51226-08R

	Location:
	Rison, AR
	Bid Date:
	5/14/2026

	Architect:
	Lewis and Associates
	Date:
	5/12/2026

	Engineer:
	Lewis and Associates 
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Flush Valve: Delany GP1402-1.6-T42
	791.50

	
	
	

	WC-1A
	Flush Valve: Delany GP1402-1.6-T42-T36
	898.50

	
	
	

	WC-2
	Flush Valve: Delany GP1402-1.6-T42
	791.50

	
	
	

	WC-2A
	Flush Valve: Delany GP1402-1.6-T42-T36
	898.50

	
	
	

	UR-1
	Flush Valve: Delany GP1451-1-T42
	791.50

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	L-1
	Faucet: T&S Brass B-2711
	313.00

	
	1070 Listed TMV: Leonard 170-LF-BP
	237.00

	
	Drain: McGuire 155AECO
	33.39

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	L-2
	Faucet: T&S Brass B-2711
	313.00

	
	1070 Listed TMV: Leonard 170-LF-BP
	237.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	SS-1
	Mop Sink: Stern Williams SB-400
	1200.00

	
	BP Splash Panels: Stern Williams BP-2-36
	250.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR-CR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	SH-1
	Shower Valve: Leonard 4500-C-10-2S
	495.00

	
	
	

	SH-2
	Shower Valve: Leonard 4500-D2L-(2)C-10-2S
	845.00

	
	
	

	SH-3
	Shower Valve: Leonard 4500-D2L-101P(G)-C-10-2S
	1110.00

	
	
	

	S-1 
	Faucet: T&S Brass B-1142-04
	329.50

	
	Drain: McGuire 1151AWC
	162.10

	
	P-Trap: McGuire C8912CECO
	63.78

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Insulation: McGuire PW2000WC
	203.56

	
	
	

	S-2
	Faucet: T&S Brass B-0597
	685.00

	
	Drain: McGuire 151A
	66.78

	
	P-Trap: McGuire C8912CECO
	63.78

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	1070 Listed TMV: Leonard 170A-LF
	190.00

	
	Insulation: McGuire PW2000
	161.48

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y-VP-50
	1063.00

	
	
	

	FD-2
	Floor Drain: Josam 30000-6A-Y-VP
	1063.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FD-3
	Floor Drain: Josam 30000-6E1-Y-50-VP
	1696.00

	
	
	

	FS-1-2-3
	Floor Sink: Josam 49300-Y-55-HG-31-NB-(SPECIFY IF YOU WANT FULL, ½, OR ¾ GRATE)
	4847.00

	
	
	

	FS-4
	Floor Sink: Josam 49340-Y-NB-3-55
	5875.00

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1-AE
	3095.00

	
	5”-6” 21500-Z-22-1-AE
	3598.00

	
	8”     21500-Z-22-1-AE
	4097.00

	
	
	

	HB-2
	Hydrant: Josam 71300-11-1/4
	2638.00

	
	
	

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	26.40

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	GWH-1-2-3-4
	RINNAI TANKLESS RACK SYSTEM
	

	
	TRS04CXiN
	16490.00

	
	CASCADE HARNESS (X3)  REU-CSA-C1 
	76.00

	
	Commercial Neutralization Tank: Rinnai 103000067
	801.00

	
	EST Freight
	475.00

	
	
	

	GWH-5
	Tankless Water Heater: Rinnai CX199iN                                 
	2504.00

	
	Does not include any venting, venting layout unknown
	

	
	Controller REU-MSB-M if needed
	286.00

	
	Slave REU-MSB-C1 if needed
	83.00

	
	EZ Connect Cable if needed REU-EZC-3
	79.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
