P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Stem A2 and A3
	Quote #:
	52726-10R

	Location:
	Bentonville, AR
	Bid Date:
	5/28/2026

	Architect:
	Polk Stanley Wilcox
	Date:
	5/27/2026

	Engineer:
	Henderson 
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	
	STEM A2
	

	DSN
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	EMV1
	Mixing Valve: Leonard EXL-300-LF-STSTL
	2175.00

	
	
	

	EMV2
	Mixing Valve: Leonard EXL-600-LF-STSTL
	3250.00

	
	
	

	EWC-1
	P-Trap: McGuire B8872C-F
	108.78

	
	Stops & Supplies: McGuire LF2165CC
	61.90

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1
	967.00

	
	4” 55004-Z-1
	1146.00

	
	With recessed top with thin flooring
	

	
	3” 55003-Z-1-13
	1679.00

	
	4” 55004-Z-1-13
	2053.00

	
	With tiled floors
	

	
	3” 55003-Z-1-SQ
	1096.00

	
	4” 55004-Z-1-SQ
	1466.00

	
	WITH CARPETED FLOORS ADD -14
	129.00

	
	IN UNFINISHED AREAS 
	

	
	3” 55003-Z-1-SD
	1356.00

	
	4” 55004-Z-1-SD
	1720.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FD-2
	Floor Drain: Josam 32200-SD-Y-81-50
	2901.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FD3
	Floor Drain: Josam 32100-Y-81-50
	1257.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FS-1
	Floor Sink: Josam 49360A-Y-NB-31
	6291.00

	
	
	

	JS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	361.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	LV-1-2-3-4
	Faucet: T&S Brass NO EQUAL
	

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155A
	53.43

	
	P-Trap: McGuire B8872C-F
	108.78

	
	Stops & Supplies: McGuire LF2165LK-SS12
	72.01

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	Sk-1-3
	Faucet: T&S Brass b-2855
	448.00

	
	Drain: McGuire 151M
	91.90

	
	P-Trap: McGuire B8912C-F
	118.58

	
	Stops & Supplies: McGuire LF2165CC
	61.90

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	SK-2
	Faucet: T&S Brass B-0892-01
	382.50

	
	Drain: McGuire 151M
	91.90

	
	P-Trap: McGuire B8912C-F
	118.58

	
	Stops & Supplies: McGuire LF2165CC
	61.90

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	TD-1
	TRENCH DRAIN: JOSAM TO FOLLOW 
	

	
	STEM A3
	

	AD1
	Floor Drain: Josam 32100-TG-Y
	1035.00

	
	
	

	DSC
	Josam
	

	
	2,3,4” 25024
	4877.00

	
	6” 25026
	5195.00

	
	8” 25028
	5405.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FD3
	Floor Drain: Josam 32100-Y-81-50
	1257.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FS3
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	
	

	FS9
	Floor Sink: Josam 49360A-Y-NB-31
	6291.00

	
	
	

	JS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	361.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	Sk-1-3
	Faucet: T&S Brass b-2855
	448.00

	
	Drain: McGuire 151M
	91.90

	
	P-Trap: McGuire B8912C-F
	118.58

	
	Stops & Supplies: McGuire LF2165CC
	61.90

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	SK-2
	Faucet: T&S Brass B-0892-01
	382.50

	
	Drain: McGuire 151M
	91.90

	
	P-Trap: McGuire B8912C-F
	118.58

	
	Stops & Supplies: McGuire LF2165CC
	61.90

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	TD-1
	TRENCH DRAIN: JOSAM TO FOLLOW 
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
