P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	FDA JEFFERSON LAB BLD 5D
	Quote #:
	62226-04r

	Location:
	Jefferson, AR
	Bid Date:
	5/26/2026

	Architect:
	WER
	Date:
	6/22/2026

	Engineer:
	Cromwell
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Flush Valve: Delany 402-1.6-T42
	460.00

	
	
	

	UR-1
	Flush Valve: Delany 451-1-T42
	260.00

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	LV-1-2
	Faucet: T&S Brass B-2866-05-vf05
	474.50

	
	1070 Listed TMV: Leonard 170-LF-BP
	230.00

	
	Drain: McGuire PW2125HDWC
	374.57

	
	Stops & Supplies: McGuire LFBV2165CC
	89.81

	
	Supply Lines: McGuire SS20
	10.00

	
	Carrier: Josam 17100
	1635.00

	
	
	

	SK-1 
	Faucet: T&S Brass BL-5700-08
	558.50

	
	Drain: McGuire 1151AWC
	162.10

	
	Stops & Supplies: McGuire LFBV2-04 X2
	23.71ea

	
	Supply Lines: McGuire SS20
	10.00

	
	1070 Listed TMV: Leonard EXL-300-LF
	1000.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	SK-2
	Faucet: T&S Brass NO EQUAL
	 

	
	Drain: McGuire 1149WC
	155.17

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LFBV2-04 X2
	23.71ea

	
	Supply Lines: McGuire SS20
	10.00

	
	1070 Listed TMV: Leonard 170A-LF-BP
	230.00

	
	Insulation: McGuire PW2000
	169.55

	
	
	

	DIF-1
	Faucet: T&S Brass BL-9515-02
	644.00

	
	
	

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFBV2-02 (x2)
	22.98ea

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424-S4
	876.0

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	
	Faucet: T&S Brass B-0665-BSTP
	361.00

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	ESEW-1
	1070 Listed TMV: Leonard EXL-800-LF
	1890.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5S-Y
	1062.0

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB
	5563.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
