P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Gotaas Hall
	Quote #:
	62226-08R

	Location:
	Mountain Home, AR
	Bid Date:
	6/24/2026

	Architect:
	Polk Stanley Wilcox
	Date:
	6/22/2026

	Engineer:
	Pettit and Pettit 
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	L-1-2
	Faucet: T&S Brass B-2711-VF05
	322.50

	 
	Drain: McGuire 155A
	53.43

	 
	P-Trap: McGuire 8872C
	94.99

	
	1 ¼” Set Screw Escutcheon: McGuire 127125O
	23.00

	
	Stops & Supplies: McGuire LFH2167LKF
	184.84

	
	Insulation: McGuire PW2000
	169.55

	
	Nipple: McGuire N6
	37.70ea

	
	TMV if Required: Leonard 170A-LF
	196.00

	
	Carrier: Josam 17100
	1557.00

	
	
	

	SS-1
	Mop Sink: Stern Williams SB-900
	974.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	371.00

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	 S-1
	Faucet: T&S Brass B-2731
	337.50

	
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire 8912C
	105.57

	
	1 ½” Set Screw Escutcheon: McGuire 127150O
	23.34

	
	Stops & Supplies: McGuire LFH2167LKF
	184.84

	
	Nipple: McGuire N6
	37.70ea

	
	TMV if Required: Leonard 170A-LF
	196.00

	
	
	

	WC-2
	Stops & Supplies: McGuire LF2166LK
	39.22

	
	
	

	ECO-1
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22-VP
	1371.00

	
	4” 55004-Z-22-VP
	1542.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22-VP
	1495.00

	
	4” 55004-Z-1-22-VP
	1847.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-8A-Y-VP
	1498.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	255.00

	
	3” 88243
	267.00

	
	3-1/2 88243-1/2
	279.00

	
	4” 88244
	304.00

	
	
	

	FS-1
	Floor Sink: Josam 49360A-Y-NB-HG-55
	6353.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
