P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	McAlester’s Deli
	Quote #:
	61326-05R

	Location:
	Jonesboro, AR
	Bid Date:
	6/18/2026

	Architect:
	
	Date:
	6/13/2026

	Engineer:
	
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-3
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	P-5
	Mop Sink: Stern Williams EB-66
	728.00

	
	BP Splash Panels: Stern Williams BP-2-30
	742.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB-4
	5563.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3-PLG3-VP
	744.00

	
	4” 58604-CO4-PLG4-VP
	973.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22-VP
	1570.00

	
	4” 55004-Z-1-22-VP
	1940.00

	
	
	

	 GWH-1-2
	Tankless Water Heater: Rinnai CXP199iN                                   
	3183.00EA

	
	Isolation Valves MIVK-T-LW
	130.00

	
	Does not include any venting, venting layout unknown
	

	
	CASCADE HARNESS REU-CSA-C1 (X1)
	76.00ea

	
	COMMERCIAL NEATRALIZATION TANK

	801.00

	
	
	

	
	IF RACKS ARE REQUIRED 
	

	
	RINNAI TANKLESS RACK SYSTEM: TRW02CXPIN
	7970.00

	
	CASCADE HARNESS REU-CSA-C1 (X1)
	76.00ea

	
	COMMERCIAL NEATRALIZATION TANK

	801.00

	
	VENTING NOT QUOTED, VENTING LAYOUT UNKNOWN
	

	
	EST FREIGHT
	350.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
