P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Nike
	Quote #:
	61426-02R

	Location:
	OKC, OK 
	Bid Date:
	ASAP

	Architect:
	
	Date:
	6/14/2026

	Engineer:
	Henderson
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1
	967.00

	
	4” 55004-Z-1
	1146.00

	
	With recessed top with thin flooring
	

	
	3” 55003-Z-1-13
	1679.00

	
	4” 55004-Z-1-13
	2053.00

	
	With tiled floors
	

	
	3” 55003-Z-1-SQ
	1096.00

	
	4” 55004-Z-1-SQ
	1466.00

	
	WITH CARPETED FLOORS ADD -14
	129.00

	
	IN UNFINISHED AREAS 
	

	
	3” 55003-Z-1-SD
	1356.00

	
	4” 55004-Z-1-SD
	1720.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	JS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	22.50

	 
	Faucet: Stern Williams T-10-VB
	254.00

	
	Mop Hanger: Stern Williams T-40
	61.00

	
	Hose & Hook: Stern Williams T-35
	60.00

	
	
	

	LV
	Drain: McGuire 155AECO
	33.39

	
	P-Trap: McGuire C8872C-F
	184.04

	
	Stops & Supplies: McGuire LFBV2165
	82.79

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-1
	Drain: McGuire 151M
	91.90

	
	P-Trap: McGuire C8912C-F
	111.71

	
	Stops & Supplies: McGuire LFBV2165
	82.79

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	WCO
	Wall Cleanout: Josam W/ Round Cover
	

	
	3” 58604-COT3
	699.00

	
	4” 58604-COT4
	967.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
