P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Pinnacle Village Office Building
	Quote #:
	6826-02R

	Location:
	Rogers, AR
	Bid Date:
	6/14/2026

	Architect:
	MBL
	Date:
	6/8/2026

	Engineer:
	HSA 
	Page 1 of  1

	
	
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-1-2
	Flush Valve: Delany 402-1.6-T42-SMO
	575.00

	
	
	

	P-3
	Flush Valve: Delany 451-1-T42-SMO
	575.00

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	P-4-6
	Faucet: T&S Brass ECW-3159-BN
	1086.50

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155AECO
	33.39

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	P-5 
	Faucet: T&S Brass B-2742 (AS ALTERNATE TMV BELOW DECK, AND NO DECK PLATE)
	490.50

	
	Drain: McGuire 152
	77.19

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P-9
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	26.40

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	P-10
	Mop Sink: Stern Williams SB-850
	964.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	 
	Faucet: T&S Brass B-0665BSTP
	371.00

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	P-12
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	P-13
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	
	

	P-14
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	P-15
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	P-16
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	P-17
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1-AE
	3095.00

	
	5”-6” 21500-Z-22-1-AE
	3598.00

	
	8”     21500-Z-22-1-AE
	4097.00

	
	
	

	P-18
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1-AE
	3475.00

	
	5”-6” 21500-Y-22-17-1-AE
	3979.00

	
	8”     21500-Y-22-17-1-AE
	4476.00

	
	
	

	P-19
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	P-20
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	P-27
	TRENCH DRAIN: JOSAM 100C06-100-DIS-E-DC-100-RAIL QUOTED PER METER 
	898.00

	
	SOLID END CAP 100-EC
	32.00

	
	END CAP W/ 4” OUTLET 100-OE4
	32.00

	
	4” BOTTOM OUTLET 100-OB4
	32.00

	
	CORNER TEE 100-CT
	32.00

	
	Rebate insert
	11.00

	
	
	

	P-28
	CATCH BASIN: JOSAM 350151/350158
	2207.00

	
	
	

	P-38-39
	JOSAM
	

	
	23710-3-VP
	2889.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
