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	  Project:
	Aerojet L3Harris 
	Quote #:
	72326-07R

	Location:
	East Camden, AR
	Bid Date:
	7/28/2026

	Architect:
	Cromwell
	Date:
	7/23/2026

	Engineer:
	Cromwell
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	THIS QUOTE TO MEET BAA
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	2629.00

	
	Back to Back Horizontal 12694
	4909.00

	
	Vertical L/R  12704/12714
	2978.00

	
	Back to Back Vertical 12724
	5263.00

	
	Single Add For “SDH” 750LBS
	882.00

	
	Back To Back Add For “SD” 750LBS
	1765.00

	
	Single Add For “XSD” 1000LBS
	1205.00

	
	Back To Back Add For “XSD” 1000LBS
	2410.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	LV-1-2
	Faucet: T&S Brass B-2701 AS ALTERNATE
	391.00

	
	1070 Listed TMV: Leonard 170-LF-BP
	230.00

	
	Drain: McGuire PW155WC
	119.11

	
	P-Trap: McGuire PW8090
	260.21

	
	Stops & Supplies: McGuire LFBV2-02 (x2)
	22.98ea

	
	Supply Lines: McGuire SS20
	10.00

	
	Carrier: Josam 17100
	1635.00

	
	
	

	SK-1 
	Faucet: T&S Brass B-2731-LH
	264.50

	
	Drain: McGuire 1151AWC
	162.10

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LFBV2-04 X2
	23.71ea

	
	Supply Lines: McGuire SS20
	10.00

	
	1070 Listed TMV: Leonard 170A-LF-BP
	230.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	JS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	
	Faucet: T&S Brass B-0658
	668.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	FD-1
	Floor Drain: Josam 30000-7E1-Y
	1845.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FD-2
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FS-1
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FS-2
	Floor Sink: Josam 49340-Y-NB
	5563.00

	
	
	

	TMV-1
	Mixing Valve: Leonard LV-982-LF-BDT-IT
	2535.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
