P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Arcare Fort Smith
	Quote #:
	71326-11R

	Location:
	Fort Smith, AR
	Bid Date:
	7/17/2026

	Architect:
	
	Date:
	7/13/2026

	Engineer:
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	26.40

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	L-1a-2a
	Faucet: T&S Brass ECW-3152
	944.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire HD155A
	76.04

	
	P-Trap: McGuire C8872C
	82.88

	
	Stops & Supplies: McGuire LFH175
	137.31

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-1-2 
	Faucet: T&S Brass NO MODEL # PROVIDED 
	

	
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire C8912C
	90.55

	
	Stops & Supplies: McGuire LFH175
	137.31

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	U-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	WH-1-2
	Tankless Water Heater: Rinnai CXP199iN                                   
	3183.00EA

	
	Isolation Valves MIVK-T-LW
	130.00

	
	Does not include any venting, venting layout unknown
	

	
	CASCADE HARNESS REU-CSA-C1 (X1)
	76.00ea

	
	COMMERCIAL NEATRALIZATION TANK

	801.00

	
	
	

	
	IF RACKS ARE REQUIRED 
	

	
	RINNAI TANKLESS RACK SYSTEM: TRW02CXPIN
	7970.00

	
	CASCADE HARNESS REU-CSA-C1 (X1)
	76.00ea

	
	COMMERCIAL NEATRALIZATION TANK

	801.00

	
	VENTING NOT QUOTED, VENTING LAYOUT UNKNOWN
	

	
	EST FREIGHT
	350.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
