P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Bentonville Ballroom
	Quote #:
	7826-07R

	Location:
	Bentonville, AR
	Bid Date:
	7/15/2026

	Architect:
	Big
	Date:
	7/8/2026

	Engineer:
	Henderson
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	DSN
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	ECO
	Floor Cleanout: Josam
	

	
	3” 58680-CO3
	2549.00

	
	4” 58680-CO4
	2644.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1
	967.00

	
	4” 55004-Z-1
	1146.00

	
	With recessed top with thin flooring
	

	
	3” 55003-Z-1-13
	1679.00

	
	4” 55004-Z-1-13
	2053.00

	
	With tiled floors
	

	
	3” 55003-Z-1-SQ
	1096.00

	
	4” 55004-Z-1-SQ
	1466.00

	
	WITH CARPETED FLOORS ADD -14
	129.00

	
	IN UNFINISHED AREAS 
	

	
	3” 55003-Z-1-SD
	1356.00

	
	4” 55004-Z-1-SD
	1720.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-T-SS (STAINLESS STEEL)
	3375.00

	
	
	

	FD-2
	Floor Drain: Josam 32100-Y-81-50
	1257.00

	
	
	

	FS-1
	Floor Sink: Josam 49320A-Y-NB
	5387.00

	
	
	

	JS-1
	Mop Sink: Stern Williams MTB-2424
	510.00

	
	BP Splash Panels: Stern Williams BP-2-24
	188.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	365.00

	
	Mop Hanger: T&S Brass B-0653
	91.80

	
	Hose & Hook: T&S Brass B-0654
	55.60

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 22080-Y-3
	1547.00

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 22080-Y-17-3
	1859.00

	
	
	

	SK-1-2
	Faucet: T&S Brass B-2855/B-WH4
	497.00

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165CC
	68.10

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	TMV-1
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	
	

	UCL-1-2
	Faucet: T&S Brass ECW-3156-PG
	1060.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire NO EQUAL
	 

	
	P-Trap: McGuire B8872C-F
	108.78

	
	Stops & Supplies: McGuire LF2165CCLK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	WC-3
	Stops & Supplies: McGuire LF2166CC
	39.22

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-COT3-PLG3
	853.00

	
	4” 58604-COT4-PLG4
	1255.00

	
	
	

	WML-1
	Faucet: T&S Brass ECW-3156-HW
	1350.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155AECO
	33.39

	
	P-Trap: McGuire B8872C-F
	108.78

	
	Stops & Supplies: McGuire LF2165CCLK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
