P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Berkshire Development
	Quote #:
	72326-03R

	Location:
	Fayetteville, AR
	Bid Date:
	ASAP

	Architect:
	BiLD
	Date:
	7/23/26

	Engineer:
	Prigm
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	
	

	FD-2
	Floor Drain: Josam 32160-Y
	2262.00

	
	
	

	FPWH-1
	Hydrant: Josam 71300-11-1/4
	2638.00

	
	
	

	TMV-1
	Mixing Valve: Leonard 170D-LF
	211.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3-PLG3
	631.00

	
	4” 58604-CO4-PLG4
	860.00

	
	
	

	YCO
	Floor Cleanout: Josam
	

	
	3” 58680-CO3-VP
	2703.00

	
	4” 58680-CO4-VP
	2798.00

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1
	1921.00

	
	5”-6” 21500-Z-22-1
	2424.00

	
	8”     21500-Z-22-1
	2923.00

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1
	2301.00

	
	5”-6” 21500-Y-22-17-1
	2805.00

	
	8”     21500-Y-22-17-1
	3302.00

	
	
	

	WCO
	Wall Cleanout: Josam W/ Round Cover
	

	
	3” 58604-COT3-PLG3
	853.00

	
	4” 58604-COT4-PLG4
	1255.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	LV-1
	Faucet: T&S Brass ECW-3159-MB
	1086.50

	
	Mixing Valve: Leonard 170D-LF
	211.00

	
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	Insulation: McGuire PW2000WC
	193.86

	
	Carrier: Josam 17100
	1635.00

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	SK-1-2
	Faucet: T&S Brass NO EQUAL
	

	
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
