P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

1- Leonard Valve Company 2/1/2025

2- McGuire MFG 1/1/2025

3- Josam 1/1/2025

4- T&S Brass & Bronze Works 1/1/2025

Keep in mind, we have Fernco and Stern- Williams in stock in Little Rock.

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Core Scientific REBID NET
	Quote #:
	7726-06r

	Location:
	Muskogee, OK 
	Bid Date:
	ASAP

	Architect:
	Telios 
	Date:
	7/7/2026

	Engineer:
	Magnus 
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	262.90

	
	Back to Back Horizontal 12694
	490.90

	
	Vertical L/R  12704/12714
	297.80

	
	Back to Back Vertical 12724
	526.30

	
	Single Add For “SDH” 750LBS
	88.20

	
	Back To Back Add For “SD” 750LBS
	176.50

	
	Single Add For “XSD” 1000LBS
	120.50

	
	Back To Back Add For “XSD” 1000LBS
	241.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	138.10

	
	
	

	L-1
	Drain: McGuire 155ASC
	28.72

	
	P-Trap: McGuire 8872CBECO
	29.42

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000WC
	91.60

	
	Carrier: Josam 17100
	163.50

	
	
	

	S-1
	Drain: McGuire 151A
	31.56

	
	P-Trap: McGuire C8912CECO
	30.14

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424
	288.00

	
	BP Splash Panels: Stern Williams BP-2-24
	95.00

	
	Speedi Drain Connector: Stern Williams TC-3
	11.25

	 
	Faucet: Stern Williams T-10-VB
	127.00

	
	Mop Hanger: Stern Williams T-40
	31.00

	
	Hose & Hook: Stern Williams T-35
	30.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	79.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	26.80

	
	3” 88243
	28.00

	
	3-1/2 88243-1/2
	29.30

	
	4” 88244
	31.90

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB
	556.30

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1-VP
	204.00

	
	5”-6” 21500-Z-22-1-VP
	247.60

	
	8”     21500-Z-22-1-VP
	290.80

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1-VP
	236.90

	
	5”-6” 21500-Y-22-17-1-VP
	290.50

	
	8”     21500-Y-22-17-1-VP
	333.60

	
	
	

	SA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	91.40

	
	75000B                                                                                                                   12-32
	184.40

	
	75000C                                                                                                                   33-60
	277.10

	
	75000D                                                                                                                 61-113
	693.40

	
	75000E                                                                                                               114-154
	782.80

	
	75000F                                                                                                               155-330
	962.20

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
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 COMMENTS  \* MERGEFORMAT 
