P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Engineering Office & Maintenance Building
	Quote #:
	71026-01R

	Location:
	East Camden, AR
	Bid Date:
	7/28/2026

	Architect:
	3 Harris
	Date:
	7/10/2026

	Engineer:
	HPMB
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	2629.00

	
	Back to Back Horizontal 12694
	4909.00

	
	Vertical L/R  12704/12714
	2978.00

	
	Back to Back Vertical 12724
	5263.00

	
	Single Add For “SDH” 750LBS
	882.00

	
	Back To Back Add For “SD” 750LBS
	1765.00

	
	Single Add For “XSD” 1000LBS
	1205.00

	
	Back To Back Add For “XSD” 1000LBS
	2410.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	L-1
	Faucet: T&S Brass NO EQUAL
	

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WC
	100.19

	
	P-Trap: McGuire C8812C
	90.55

	
	Stops & Supplies: McGuire LF2165CCLK
	65.38

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-1
	Faucet: BRIGGS B1201S
	587.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WC
	100.19

	
	P-Trap: McGuire C8812C
	90.55

	
	Stops & Supplies: McGuire LF2165CCLK
	65.38

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-2
	Faucet: T&S Brass B-2866-05
	452.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WC
	100.19

	
	P-Trap: McGuire C8812C
	90.55

	
	Stops & Supplies: McGuire LF2165CCLK
	65.38

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	SS-1
	Faucet: T&S Brass B-0331-CR4-L22
	476.00

	
	
	

	MS-1
	Mop Sink: Stern Williams SB-850
	964.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	361.50

	
	Mop Hanger: T&S Brass B-0653
	91.80

	
	Hose & Hook: T&S Brass B-0654
	55.60

	
	
	

	FS-1
	Floor Sink: Josam 49320A-Y-NB-3
	5387.00

	
	
	

	FD-1
	Floor Drain: Josam 30002-5A-Y
	790.00

	
	Floor Drain: Josam 30003-8A-Y
	1408.00

	
	Floor Drain: Josam 30004-10A-Y
	1922.00

	
	
	

	FD-2
	Floor Drain: Josam 30002-4W-Y
	722.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
