P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Guthrie- Edmond Regional Airport
	Quote #:
	7126-02R

	Location:
	Guthrie, OK
	Bid Date:
	7/8/2026

	Architect:
	
	Date:
	7/1/2026

	Engineer:
	Parkhill
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	2629.00

	
	Back to Back Horizontal 12694
	4909.00

	
	Vertical L/R  12704/12714
	2978.00

	
	Back to Back Vertical 12724
	5263.00

	
	Single Add For “SDH” 750LBS
	882.00

	
	Back To Back Add For “SD” 750LBS
	1765.00

	
	Single Add For “XSD” 1000LBS
	1205.00

	
	Back To Back Add For “XSD” 1000LBS
	2410.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	L-1
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire 8872C
	94.99

	
	1 ¼” Set Screw Escutcheon: McGuire 127125O
	23.00

	
	Stops & Supplies: McGuire LFH2167LKF
	184.84

	
	Insulation: McGuire PW2000
	169.55

	
	Nipple: McGuire N6
	37.70ea

	
	Carrier: Josam 17100
	1557.00

	
	
	

	S-1
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire 8912C
	105.57

	
	1 ½” Set Screw Escutcheon: McGuire 127150O
	23.34

	
	Stops & Supplies: McGuire LFH2167LKF
	184.84

	
	Nipple: McGuire N6
	37.70ea

	
	
	

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	26.40

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	SA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB
	5563.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1
	1921.00

	
	5”-6” 21500-Z-22-1
	2424.00

	
	8”     21500-Z-22-1
	2923.00

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1
	2301.00

	
	5”-6” 21500-Y-22-17-1
	2805.00

	
	8”     21500-Y-22-17-1
	3302.00

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	GTWH-1
	Tankless Water Heater: Rinnai CX199                  
	2504.00EA

	
	ISOLATION VALVE KIT
	137.50

	
	CONTROLLER MWM200 IF REQUIRED
	170.00

	
	804000074
	201.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
