P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	TCC Mountain Home
	Quote #:
	72226-01R

	Location:
	Mountain Home, AR
	Bid Date:
	7/29/2026

	Architect:
	Ceso
	Date:
	7/22/2026

	Engineer:
	HP
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST02LK
	21.01

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	JS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR-CR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	L-2
	Faucet: T&S Brass 5EF-2D-DS
	735.50

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF170LK
	91.49

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	S-1 
	Faucet: BRIGGS B1201
	487.00

	
	Drain: McGuire 151M

	91.89

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF170LK
	91.49

	
	1070 Listed TMV: Leonard 170A-LF 
	196.00

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	2629.00

	
	Back to Back Horizontal 12694
	4909.00

	
	Vertical L/R  12704/12714
	2978.00

	
	Back to Back Vertical 12724
	5263.00

	
	Single Add For “SDH” 750LBS
	882.00

	
	Back To Back Add For “SD” 750LBS
	1765.00

	
	Single Add For “XSD” 1000LBS
	1205.00

	
	Back To Back Add For “XSD” 1000LBS
	2410.00

	
	
	

	COTG-1
	Floor Cleanout: Josam
	

	
	3” 58680-CO3
	2549.00

	
	4” 58680-CO4
	2644.00

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1
	967.00

	
	4” 55004-Z-1
	1146.00

	
	With recessed top with thin flooring
	

	
	3” 55003-Z-1-13
	1679.00

	
	4” 55004-Z-1-13
	2053.00

	
	With tiled floors
	

	
	3” 55003-Z-1-SQ
	1096.00

	
	4” 55004-Z-1-SQ
	1466.00

	
	WITH CARPETED FLOORS ADD -14
	129.00

	
	IN UNFINISHED AREAS 
	

	
	3” 55003-Z-1-SD
	1356.00

	
	4” 55004-Z-1-SD
	1720.00

	
	
	

	WCO
	Wall Cleanout: Josam W/ Round Cover
	

	
	3” 58604-COT3-PLG3
	853.00

	
	4” 58604-COT4-PLG4
	1255.00

	
	OR
	

	WCO
	Wall Cleanout: Josam W/ SQUARE COVER
	

	
	3” 58642-COT3-PLG3
	1618.00

	
	4” 58642-COT4-PLG4
	2020.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
