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	OKC, OK 
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	Engineer:
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	AD-1
	Floor Drain: Josam 32100-TG-Y
	103.60

	
	
	

	AD-2
	Floor Drain: Josam 32200-SD-Y
	189.50

	
	
	

	DF-1
	P-Trap: McGuire B8902C-F
	53.36

	EWFC-1
	Stops & Supplies: McGuire LF2165CC
	27.85

	 
	Carrier Single Level: Josam 17560-WC
	138.10

	
	Carrier Bi Level: Josam 17560-WCBL
	216.80

	
	
	

	ECO
	Floor Cleanout: Josam
	

	
	3” 58680-CO3
	254.90

	
	4” 58680-CO4
	264.40

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1
	96.70

	
	4” 55004-Z-1
	114.60

	
	With recessed top with thin flooring
	

	
	3” 55003-Z-1-13
	167.90

	
	4” 55004-Z-1-13
	206.30

	
	With tiled floors
	

	
	3” 55003-Z-1-SQ
	109.60

	
	4” 55004-Z-1-SQ
	146.40

	
	WITH CARPETED FLOORS ADD -14
	129.00

	
	IN UNFINISHED AREAS 
	

	
	3” 55003-Z-1-SD
	135.60

	
	4” 55004-Z-1-SD
	172.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y-50
	97.30

	
	
	

	FD-3
	Floor Drain: Josam 30000-8A-Y-50
	140.80

	
	
	

	FS-3
	Floor Sink: Josam 49300-Y-NB-3
	361.80

	
	
	

	FS-4
	Floor Sink: Josam 49320A-Y-NB
	538.70

	
	
	

	FS-5
	Floor Sink: Josam 49340-Y-NB
	556.30

	
	
	

	JS-1-2
	Mop Sink: Stern Williams MTB-2424
	288.00

	
	BP Splash Panels: Stern Williams BP-2-24
	95.00

	
	V-70-24
	30.01

	
	Speedi Drain Connector: Stern Williams TC-3
	11.25

	 
	Faucet: Stern Williams T-15-VB
	318.0

	
	Mop Hanger: Stern Williams T-40
	31.00

	
	Hose & Hook: Stern Williams T-35
	30.00

	
	
	

	L-1-2-3-4
	Drain: McGuire 155AECO
	15.02

	SK-4
	P-Trap: McGuire C8872C-F
	48.95

	
	Stops & Supplies: McGuire LF2165CCLK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Carrier: Josam 17100
	163.50

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1
	192.10

	
	5”-6” 21500-Z-22-1
	242.40

	
	8”     21500-Z-22-1
	292.30

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1
	230.10

	
	5”-6” 21500-Y-22-17-1
	280.50

	
	8”     21500-Y-22-17-1
	33020

	
	
	

	SK-1
	Drain: McGuire PRODRAIN2
	34.79

	
	P-Trap: McGuire B8912C-F
	53.36

	
	Stops & Supplies: McGuire LF2165CCLK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	SK-2-3
	Drain: McGuire 151M
	41.35

	
	P-Trap: McGuire B8912C-F
	53.36

	
	Stops & Supplies: McGuire LF2165CCLK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	262.90

	
	Back to Back Horizontal 12694
	490.90

	
	Vertical L/R  12704/12714
	297.80

	
	Back to Back Vertical 12724
	526.30

	
	Single Add For “SDH” 750LBS
	88.20

	
	Back To Back Add For “SD” 750LBS
	176.50

	
	Single Add For “XSD” 1000LBS
	120.50

	
	Back To Back Add For “XSD” 1000LBS
	241.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	138.10

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-COT3-PLG3
	358.26

	
	4” 58604-COT4-PLG4
	527.10

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	91.40

	
	75000B                                                                                                                   12-32
	184.40

	
	75000C                                                                                                                   33-60
	277.10

	
	75000D                                                                                                                 61-113
	693.40

	
	75000E                                                                                                               114-154
	782.80

	
	75000F                                                                                                               155-330
	962.20

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
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 COMMENTS  \* MERGEFORMAT 
