P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Nothing Bundt Cakes
	Quote #:
	7126-04R

	Location:
	Muskogee, OK
	Bid Date:
	7/8/2026

	Architect:
	LP
	Date:
	7/1/2026

	Engineer:
	BA
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	26.40

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	GWH-1
	Tankless Water Heater: Rinnai RX199iN                                   
	2433.00

	
	Isolation Valves MIVK-T-LW
	140.00

	
	Does not include any venting, venting layout unknown
	

	
	Controller REU-MSB-M if needed
	308.00

	
	Slave REU-MSB-C1 if needed
	90.00

	
	EZ Connect Cable if needed REU-EZC-3
	85.00

	
	
	

	L-1
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	22.50

	 
	Faucet: Stern Williams T-10-VB
	254.00

	
	Mop Hanger: Stern Williams T-40
	61.00

	
	Hose & Hook: Stern Williams T-35
	60.00

	
	
	

	SA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	S-1
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	WC-1
	Stops & Supplies: McGuire LF2166LK
	39.22

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
