P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

7/25/2022:  Stern- Williams 8/1/2022 all products. Previous quotes good until 7/31/2022.

8/1/2022:    Armstrong Pumps price increase.

P.S.A., Inc.

www.psaincorporated.com 
#1 Innwood Circle, Suite 111
Little Rock, AR 72211

Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Oakdale Middle School
	Quote #:
	10523-02R

	Location:
	Rogers, AR
	Bid Date:
	ASAP

	Architect:
	
	Date:
	10/5/2023

	Engineer:
	HSA 
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-3-4
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	P-5-6-21-22
	Faucet: T&S Brass EC-3103-HW
	1250.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155AECO
	33.39

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	P-7-8-10
	Faucet: T&S Brass B-2866-05
	452.00

	
	Drain: McGuire 152
	77.19

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P-11
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST02LK
	21.01

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	P-12
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	P-13
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	
	

	P-16
	Wall Cleanout: Josam
	

	
	3” 58604-CO3

	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	P-18
	Mop Sink: Stern Williams SB-850
	964.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	361.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	P-20
	Shower Valve: Leonard 4500-101P(G)
	760.00

	
	
	

	P-23
	WILLOUGHBY CWSMS-ADA-WH-TPV-DV-1.5GPM-APS-FX-SLB24-PS(4FT)
	3109.67

	
	IF ADDITIONAL PIPE SHROUD ID REQUIRED, ADD PER FOOT
	108.91

	
	
	

	P-24
	WILLOUGHBY CWSMS-TPV-1.5GPM-APS-SD(1)-PS(4FT)
	1606.74

	
	IF ADDITIONAL PIPE SHROUD ID REQUIRED, ADD PER FOOT
	108.91

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
