P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Omni Craft Brewing
	Quote #:
	72326-02R

	Location:
	Sherwood, AR
	Bid Date:
	ASAP

	Architect:
	Moore
	Date:
	7/23/2026

	Engineer:
	NES
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	Stops & Supplies: McGuire LF2166LK
	39.22

	
	
	

	UR-1
	Flush Valve: Delany S451-1-T42
	442.00

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	L-1
	Faucet: T&S Brass B-0871
	288.00

	
	1070 Listed TMV: Leonard 170-LF-BP-BRKT
	259.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	SS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB
	5563.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22
	1282.00

	
	4” 55004-Z-22
	1461.00

	
	
	

	IWH-1
	Tankless Water Heater: Rinnai RX199In                                   
	2433.00

	
	Isolation Valves MIVK-T-LW
	138.00

	
	Does not include any venting, venting layout unknown
	

	
	Controller REU-MSB-M if needed
	308.00

	
	Slave REU-MSB-C1 if needed
	90.00

	
	EZ Connect Cable if needed REU-EZC-3
	85.00

	
	IF RACK SYSTEM IS REQUIRED
	

	
	RINNAI TANKLESS RACK SYSTEM: TRW02
	7320.00ea

	
	CASCADE HARNESS REU-CSA-C1 (X1)
	76.00ea

	
	COMMERCIAL NEATRALIZATION TANK

	801.00

	
	VENTING NOT QUOTED, VENTING LAYOUT UNKNOWN
	

	
	EST FREIGHT
	350.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
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 COMMENTS  \* MERGEFORMAT 
