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PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS
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www.psaincorporated.com 
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Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Tate Boys NET
	Quote #:
	72226-09R

	Location:
	Broken Arrow, OK
	Bid Date:
	8/3/2026

	Architect:
	
	Date:
	7/22/2026

	Engineer:
	HFA
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	FCO
	JOSAM 56674
	125.40

	
	
	

	WCO
	Wall Cleanout: Josam W/ Round Cover
	

	
	3” 58604-COT3-PLG3
	85.30

	
	4” 58604-COT4-PLG4
	125.50

	
	
	

	COTG-1
	Floor Cleanout: Josam
	

	
	3” 58680-CO3
	254.90

	
	4” 58680-CO4
	264.40

	
	
	

	WC-1
	Stops & Supplies: McGuire LF2166LK
	17.64

	
	
	

	LAV-1
	Drain: McGuire 155WCECO
	27.90

	
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000WC
	91.60

	
	Carrier: Josam 17100
	163.50

	
	
	

	SK1
	Drain: McGuire 151A
	31.56

	
	P-Trap: McGuire C8912CECO
	30.14

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	DF1
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LFST12LK
	11.88

	 
	Carrier Single Level: Josam 17560-WC
	138.10

	
	Carrier Bi Level: Josam 17560-WCBL
	216.80

	
	
	

	MS
	Mop Sink: Stern Williams MTB-2424
	288.00

	
	BP Splash Panels: Stern Williams BP-2-24
	95.00

	
	Speedi Drain Connector: Stern Williams TC-3
	11.25

	 
	Faucet: Stern Williams T-10-VB
	127.00

	
	Mop Hanger: Stern Williams T-40
	31.00

	
	Hose & Hook: Stern Williams T-35
	30.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	79.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	26.80

	
	3” 88243
	28.00

	
	3-1/2 88243-1/2
	29.30

	
	4” 88244
	31.90

	
	
	

	FD-2
	Floor Drain: Josam 38830-Y
	611.90

	
	
	

	WH-1
	Tankless Water Heater: Rinnai RXP199iN                                   
	1624.70

	
	Isolation Valves MIVK-T-LW
	68.75

	
	Does not include any venting, venting layout unknown
	

	
	Controller REU-MSB-M if needed
	169.40

	
	Slave REU-MSB-C1 if needed
	49.50

	
	EZ Connect Cable if needed REU-EZC-3
	46.75

	
	CONDENSATE NEUTRALIZER 804000074
	124.30

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
