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PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS
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Quotation
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	  Project:
	Tensorwave Building 1 NET
	Quote #:
	7726-07R

	Location:
	OKC, OK 
	Bid Date:
	ASAP

	Architect:
	The M Group
	Date:
	7/7/2026

	Engineer:
	Bala
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	WC-1
	Carrier: JOSAM  Horizontal L/R  12674/12684
	262.90

	
	Back to Back Horizontal 12694
	490.90

	
	Vertical L/R  12704/12714
	297.80

	
	Back to Back Vertical 12724
	526.30

	
	Single Add For “SDH” 750LBS
	88.20

	
	Back To Back Add For “SD” 750LBS
	176.50

	
	Single Add For “XSD” 1000LBS
	120.50

	
	Back To Back Add For “XSD” 1000LBS
	241.00

	
	
	

	LAV-1
	Drain: McGuire 155WCECO
	27.90

	
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000WC
	91.60

	
	Carrier: Josam 17100
	163.50

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y-50
	79.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	26.80

	
	3” 88243
	28.00

	
	3-1/2 88243-1/2
	29.30

	
	4” 88244
	31.90

	
	
	

	FD-2
	Floor Drain: Josam 32300-SD-81-50
	3025.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	26.80

	
	3” 88243
	28.00

	
	3-1/2 88243-1/2
	29.30

	
	4” 88244
	31.90

	
	
	

	WH-1
	Hydrant: Josam 71300-11-1/4
	263.80

	
	
	

	TS-1
	Trap Seal Insert: Josam
	

	
	2” 88242
	26.80

	
	3” 88243
	28.00

	
	3-1/2 88243-1/2
	29.30

	
	4” 88244
	31.90

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
