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PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS
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Quotation
Confidential Document

	  Project:
	Wingstop NET
	Quote #:
	72926-01R

	Location:
	Tahlequah, OK 
	Bid Date:
	8/4/2026

	Architect:
	
	Date:
	7/29/2026

	Engineer:
	Case
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	L-1
	Drain: McGuire 155WCECO
	27.90

	
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000WC
	91.60

	
	Carrier: Josam 17100
	163.50

	
	
	

	MSB-1
	Mop Sink: Stern Williams MTB-2424
	288.00

	
	BP Splash Panels: Stern Williams BP-2-24
	95.00

	
	Speedi Drain Connector: Stern Williams TC-3
	11.25

	 
	Faucet: Stern Williams T-10-VB
	127.00

	
	Mop Hanger: Stern Williams T-40
	31.00

	
	Hose & Hook: Stern Williams T-35
	30.00

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB
	556.30

	
	
	

	WH-1
	RINNAI TANKLESS RACK SYSTEM: TRW02CXiN

	4392.00

	
	CASCADE HARNESS REU-CSA-C1 
	41.80

	
	COMMERCIAL NEATRALIZATION TANK

	440.55

	
	EST FREIGHT
	350.00

	
	
	

	WCO
	Wall Cleanout: Josam W/ Round Cover
	

	
	3” 58604-COT3-PLG3
	85.30

	
	4” 58604-COT4-PLG4
	125.50

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	141.10

	
	4” 55004-Z-1-22
	178.10

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	91.40

	
	75000B                                                                                                                   12-32
	184.40

	
	75000C                                                                                                                   33-60
	277.10

	
	75000D                                                                                                                 61-113
	693.40

	
	75000E                                                                                                               114-154
	782.80

	
	75000F                                                                                                               155-330
	962.20

	
	
	

	Td-1
	TRENCH DRAIN: JOSAM 100C06-100-SSS-C-100-SSE QUOTED PER METER 
	499.00

	
	SOLID END CAP 100-EC
	16.00

	
	END CAP W/ 4” OUTLET 100-OE4
	16.00

	
	4” BOTTOM OUTLET 100-OB4
	16.00

	
	CORNER TEE 100-CT
	16.00

	
	Rebate insert
	11.00

	
	
	

	UR-1
	Carrier: Josam 17560-UR
	138.10

	
	
	

	COTG-1
	Floor Cleanout: Josam
	

	
	3” 58680-CO3
	254.90

	
	4” 58680-CO4
	264.40

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
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 COMMENTS  \* MERGEFORMAT 
