P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Billy Jones Office Building
	Quote #:
	82026-01R

	Location:
	Rogers, AR
	Bid Date:
	8/26/26

	Architect:
	Townsley 
	Date:
	8/20/2026

	Engineer:
	Geary 
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P1H
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2166
	36.46

	
	
	

	P2H
	Faucet: T&S Brass NO EQUAL
	

	
	1070 Listed 3/8 TMV: Leonard 170A-LF
	196.00

	
	Offset Grid Drain: McGuire 155WCECO
	62.00

	
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2165LK (Loose Key)
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Lavatory Carrier: Josam 17100
	1635.00

	
	
	

	P3
	Faucet: T&S Brass B-0892-133X
	414.00

	
	Stainless Steel Basket Strainer: McGuire 151A
	70.14

	
	1-1/2 x 1-1/2 P-Trap: McGuire C8912CECO
	66.99

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2165LK (Loose Key)
	68.10

	
	1070 Listed 3/8 TMV: Leonard 170A-LF 
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P4-4H
	Faucet: T&S Brass NO EQUAL
	

	
	Stainless Steel Basket Strainer: McGuire 151A
	70.14

	
	1-1/2 x 1-1/2 P-Trap: McGuire C8912CECO
	66.99

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2165LK (Loose Key)
	68.10

	
	1070 Listed 3/8 TMV: Leonard 170A-LF 
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P5
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	P6H
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST02LK
	21.01

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	TWCO
	Floor Cleanout With Cast Iron Top: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	FS-1
	Floor Sink: Josam 49320A-Y-LF-3
	3503.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
