P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Calvary Church
	Quote #:
	82426-02R

	Location:
	Bentonville, AR
	Bid Date:
	9/3/2026

	Architect:
	Live Group
	Date:
	8/24/2026

	Engineer:
	BBG&S
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	L-1-2
	Faucet: T&S Brass ECW-3152-MB-HW
	1350.00

	
	1070 Listed TMV: Leonard 170D-LF-CP
	261.00

	
	Drain: McGuire 155A
	53.43

	
	P-Trap: McGuire 8872C
	94.99

	
	Stops & Supplies: McGuire LFH2165
	100.28

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	L-3
	Faucet: T&S Brass EC-3132-4DP-HW
	1500.00

	
	1070 Listed TMV: Leonard 170D-LF-CP
	261.00

	
	Drain: McGuire 155A
	53.43

	
	P-Trap: McGuire 8872C
	94.99

	
	Stops & Supplies: McGuire LFH2165
	100.28

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	SK-2
	Faucet: T&S Brass B-2866-05FC15
	470.50

	
	Drain: McGuire 152
	77.13

	
	P-Trap: McGuire 8912C
	105.57

	
	Stops & Supplies: McGuire LFH2165
	100.28

	
	1070 Listed TMV: Leonard 170D-LF-CP
	261.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	SH-1
	Shower Valve: Leonard 7600-62001
	1225.00

	
	
	

	ECW-1 
	P-Trap: McGuire 8872C
	94.99

	
	Stops & Supplies: McGuire LFH2165
	100.28

	
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	MB-1
	Mop Sink: Stern Williams SBC-1725
	1032.00

	
	BP Splash Panels: Stern Williams BP-2-32
	254.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP-CR
	361.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	F4 FUNNEL IF REQUIRED 
	702.00

	
	
	

	MFD
	Floor Drain: Josam 32200-Y-50
	1987.00

	
	
	

	FS-1
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	
	

	RD
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1
	1921.00

	
	5”-6” 21500-Z-22-1
	2424.00

	
	8”     21500-Z-22-1
	2923.00

	
	
	

	ERD
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1
	2301.00

	
	5”-6” 21500-Y-22-17-1
	2805.00

	
	8”     21500-Y-22-17-1
	3302.00

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	WH-1
	Hydrant: Josam 71300-11-1/4
	2638.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
