P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Cleburne County Detention Center
	Quote #:
	8326-01R

	Location:
	Heber Springs, AR
	Bid Date:
	8/13/2026

	Architect:
	Spirit 
	Date:
	8/3/2026

	Engineer:
	Spirit 
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-1
	Willoughby ECW-1846-L/R/C-ON-BC-PML2-PBH-CW1-TWE-TW3(PVC)-RC3-TWC-T4A-FV1.6-FVT-RTH-HPS-WS(CA)
	5402.64

	
	
	

	P-1A
	Willoughby ECW-4896-L/R-ON-DMBC-PML2-PBH-CW1-TWE-TW3(PVC)-PC3-TWC-FV1.6-T4A-FVT-HPS-WS(CB)
	8976.80

	
	
	

	P-2
	Willoughby WRS-PML1-PBH-1.5GPM-NPS-RD(1)-WS(SA)
	1203.52

	
	
	

	P-2A
	Willoughby WRS-ADA-PML1-MA2-PBH-1.5GPM-NPS-2HD-RD(1)-WS(SA)
	1958.19

	
	
	

	P-3
	Flush Valve: Delany S402-1.6-T42
	442.00

	
	
	

	P-4
	Faucet: T&S Brass BA-2711-VF05
	599.50

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WC
	100.19

	
	P-Trap: McGuire C8872C
	82.88

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	
	

	FD-2
	Floor Drain: Josam 30000-7E1-Y
	1845.00

	
	
	

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-2-22
	1411.00

	
	4” 55004-Z-2-22
	1781.00

	
	
	

	COTG
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22
	1282.00

	
	4” 55004-Z-22
	1461.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
