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PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS
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Confidential Document

	  Project:
	Connection Church NET
	Quote #:
	82426-04R

	Location:
	Elgin, OK 
	Bid Date:
	8/28/2026

	Architect:
	Space
	Date:
	8/24/2026

	Engineer:
	KCL
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	COTG, FCO
	Floor Cleanout With Nickel BRONZE Top AND BRASS PLUG: Josam
	

	
	3” 55003-Z-2-SD-22
	158.75

	
	4” 55004-Z-2-SD-22
	193.33

	
	
	

	EWC-2
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	11.88

	 
	Carrier Single Level: Josam 17560-WC
	124.45

	
	Carrier Bi Level: Josam 17560-WCBL
	205.96

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y (With 6” Strainer)
	79.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	25.46

	
	3” 88243
	26.60

	
	3-1/2 88243-1/2
	27.84

	
	4” 88244
	30.31

	
	
	

	FD-2
	Floor Drain: Josam 30000-6E1-Y (With 6” ROUND Strainer W/ EXTEDED RIM)
	152.57

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	25.46

	
	3” 88243
	26.60

	
	3-1/2 88243-1/2
	27.84

	
	4” 88244
	30.31

	
	
	

	FS-1
	Floor Sink: Josam 49340-Y-NB-31 (12X12X8 FLOOR SINK W/ NICKEL BRONZE RIM AND ALUMINUM SEDIMENT BUCKET)
	577.50

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	25.46

	
	3” 88243
	26.60

	
	3-1/2 88243-1/2
	27.84

	
	4” 88244
	30.31

	
	
	

	L-1
	Offset Grid Drain: McGuire 155WCECO
	62.00

	
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	3/8” IPSx3/8” OD Stops & Supplies: McGuire LFBV165 (QUARTER TURN)
	37.25

	
	Insulation: McGuire PW2000WC
	203.56

	
	Lavatory Carrier: Josam 17100
	1635.00

	
	
	

	MB-1
	Mop Sink: Stern Williams HL-1810
	507.00

	
	BP Splash Panels: Stern Williams BP-2-24
	95.00

	
	Speedi Drain Connector: Stern Williams TC-3
	11.25

	 
	Faucet: Stern Williams T-10-VB
	127.00

	
	Mop Hanger: Stern Williams T-40
	31.00

	
	Hose & Hook: Stern Williams T-35
	30.00

	
	
	

	SK-1
	Stainless Steel Basket Strainer: McGuire 151A
	70.14

	
	1-1/2 x 1-1/2 P-Trap: McGuire C8912CECO
	66.99

	
	3/8” IPSx3/8” OD Stops & Supplies: McGuire LFBV165 (QUARTER TURN)
	37.25

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	UR-1
	Urinal Carrier: Josam 17560-UR
	131.20

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
