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ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS
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	  Project:
	OU Health Stephenson Cancer Center 6th floor NET
	Quote #:
	81926-01R

	Location:
	OKC, OK 
	Bid Date:
	ASAP

	Architect:
	Miles
	Date:
	8/19/2026

	Engineer:
	Alvine
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	EWC-1
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LFST12LK
	11.88

	 
	Carrier Single Level: Josam 17560-WC
	124.45

	
	Carrier Bi Level: Josam 17560-WCBL
	205.96

	
	
	

	FD-1
	Floor Drain: Josam 30000-5S-Y
	110.20

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	25.46

	
	3” 88243
	26.60

	
	3-1/2 88243-1/2
	27.84

	
	4” 88244
	30.31

	
	
	

	L-1
	Drain: McGuire 155WCECO
	27.90

	
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000WC
	91.60

	
	Carrier: Josam 17100
	155.32

	
	
	

	L-2
	Willoughby BHS-3123-WB1-TMV-AMT
	3446.06

	
	
	

	S-1
	Drain: McGuire 151A
	31.56

	
	P-Trap: McGuire C8912CECO
	30.14

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
