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ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS
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	  Project:
	Post Oak Elementary Phase 2 NET
	Quote #:
	81026-01R

	Location:
	Edmond, OK
	Bid Date:
	8/18/2026

	Architect:
	
	Date:
	8/10/2026

	Engineer:
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	ALL PRICES ARE NET
	

	
	
	


QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES NET UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	NET

	P-2
	Drain: McGuire 155WCECO
	27.90

	
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000WC
	91.60

	
	Carrier: Josam 17100
	163.50

	
	
	

	P-3
	Carrier: Josam 17560-UR
	138.10

	
	
	

	P-5
	Drain: McGuire 151A
	31.56

	
	P-Trap: McGuire C8912CECO
	30.14

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	P-6
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LFST12LK
	11.88

	 
	Carrier Single Level: Josam 17560-WC
	138.10

	
	Carrier Bi Level: Josam 17560-WCBL
	216.80

	
	
	

	P-7
	Mop Sink: Stern Williams SBC-1700
	892.00

	
	BP Splash Panels: Stern Williams BP-2-24
	95.00

	
	Speedi Drain Connector: Stern Williams TC-3
	11.25

	 
	Faucet: Stern Williams T-10-VB
	127.00

	
	Mop Hanger: Stern Williams T-40
	31.00

	
	Hose & Hook: Stern Williams T-35
	30.00

	
	
	

	FD-A
	Floor Drain: Josam 30000-5A-Y
	79.00

	
	
	

	FD-B
	Floor Drain: Josam 300006E1-Y
	160.50

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1
	192.10

	
	5”-6” 21500-Z-22-1
	242.40

	
	8”     21500-Z-22-1
	292.30

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1
	230.10

	
	5”-6” 21500-Y-22-17-1
	280.50

	
	8”     21500-Y-22-17-1
	33020

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-BS
	194.70

	
	6” 25016-T-BS
	337.30

	
	8” 25018-T-BS
	466.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
