P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Potbelly Sandwich Works 
	Quote #:
	81926-07R

	Location:
	Rogers, AR
	Bid Date:
	8/28/2026

	Architect:
	DXU
	Date:
	8/19/2026

	Engineer:
	Case
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P103
	Stops & Supplies: McGuire LF2166LK
	39.22

	
	
	

	P203
	Faucet: T&S Brass P600 SEE BELOW 
	

	
	Faucet: T&S Brass B-3950-VR
	202.00

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 270-LF-SW
	244.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P204
	Faucet: T&S Brass P601 SEE BELOW 
	

	
	Faucet: T&S Brass B-3950-VR
	202.00

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 270-LF-SW
	244.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P205
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	P210
	Faucet: T&S Brass P604 SEE BELOW 
	

	
	1070 Listed TMV: Leonard 270-LF-SW
	244.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	P211
	Faucet: T&S Brass P603 SEE BELOW 
	

	
	Faucet: T&S Brass B-3950-VR
	202.00

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 270-LF-SW
	244.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P406
	1070 Listed TMV: Leonard 270-LF-SW
	244.00

	
	
	

	P408
	Faucet: T&S Brass B-2282-01 (COMES COMPLETE WITH B-2282/006678-45)
	296.00

	
	
	

	P600
	Faucet: T&S Brass B-0230-LN/064X
	339.70

	
	
	

	P601
	Faucet: T&S Brass B-0225-LN/135X
	357.70

	
	
	

	P603
	Faucet: T&S Brass B-1115-LN/131X
	287.60

	
	
	

	P604
	Faucet: T&S Brass EC-3103-VF05-TMV
	1243.00

	
	
	

	P605
	Faucet: T&S Brass B-0133-ADF14-B-B0970-FEZ
	1287.00

	
	
	

	P610
	Faucet: T&S Brass MODEL SPECIFIED IS CONTRADICTORY NO QUOTE 
	339.70

	
	
	

	P605
	Faucet: T&S Brass B-3950-VR
	202.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
