P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Rolling Hills Country Club
	Quote #:
	81726-07R

	Location:
	Cabot, AR
	Bid Date:
	8/19/2026

	Architect:
	
	Date:
	8/17/2026

	Engineer:
	EECI
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	L-1
	Faucet: T&S Brass 5SL-1000
	134.50

	
	1070 Listed TMV: Leonard 170D-LF
	218.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	WC-1
	Flush Valve: Delany S402-1.6-T42
	442.00

	
	
	

	UR-1
	Flush Valve: Delany S451-1-T42
	442.00

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	WH-1-2-3
	Tankless Rack System: Rinnai TRW03CXPIN
	11705.00

	
	Cascade Harness: REU-CSA-C1 X2
	76.00EA

	
	Commecial Neutralization Tank W/ Media 103000067
	801.00

	
	Aquastat 109000735
	497.00

	
	Digital Timer 109000733 if Required
	882.00

	
	EST FREIGHT 
	420.00

	
	
	

	FS-1
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	EWC-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST02LK
	21.01

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
