P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Truman Primary Addition 
	Quote #:
	8326-08R

	Location:
	Norman, OK 
	Bid Date:
	8/5/2026

	Architect:
	CWA
	Date:
	8/3/2026

	Engineer:
	Salas O’Brien
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22-VP
	167.00

	
	4” 55004-Z-1-22
	194.10

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	106.30

	
	
	

	EWC-1
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LFST12LK
	11.88

	 
	Carrier Single Level: Josam 17560-WC
	138.10

	
	Carrier Bi Level: Josam 17560-WCBL
	216.80

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-3
	237.60

	
	5”-6” 21500-Z-22-3
	292.40

	
	8”     21500-Z-22-3
	342.40

	
	
	

	L-1
	Drain: McGuire 155WCECO
	27.90

	
	P-Trap: McGuire C8872CECO
	28.37

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000WC
	91.60

	
	Carrier: Josam 17100
	163.50

	
	
	

	S-1
	Drain: McGuire 151A
	31.56

	
	P-Trap: McGuire C8912CECO
	30.14

	
	Stops & Supplies: McGuire LF2165LK
	30.64

	
	Insulation: McGuire PW2000
	76.29

	
	Continuous Waste: McGuire 111C16G17
	71.50

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
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