P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	UHP Partner 3
	Quote #:
	81726-09R

	Location:
	Gravette, AR
	Bid Date:
	ASAP

	Architect:
	Burris
	Date:
	8/17/2026

	Engineer:
	Prigm
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	IWH-1
	Tankless Water Heater: Rinnai CX199                  
	2504.00EA

	
	ISOLATION VALVE KIT
	137.50

	
	CONTROLLER MWM200 IF REQUIRED
	170.00

	
	804000074
	201.00

	
	
	

	ETMV-1
	Mixing Valve: Leonard 6020-LF
	1085.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	
	

	FD-2
	Floor Drain: Josam 32160-Y
	2262.00

	
	
	

	FPWH-1
	Hydrant: Josam 71300-11-1/4
	2638.00

	
	
	

	TMV-1
	Mixing Valve: Leonard 170D-LF
	211.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3-PLG3
	631.00

	
	4” 58604-CO4-PLG4
	860.00

	
	
	

	YCO
	Floor Cleanout: Josam
	

	
	3” 58680-CO3-VP
	2703.00

	
	4” 58680-CO4-VP
	2798.00

	
	
	

	DF-1
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST12LK
	26.40

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	LV-1
	Faucet: T&S Brass BP-2704
	559.50

	
	Mixing Valve: Leonard 170D-LF
	211.00

	
	Drain: McGuire 155WCECO
	59.05

	
	P-Trap: McGuire C8872CECO
	60.04

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	Insulation: McGuire PW2000WC
	193.86

	
	Carrier: Josam 17100
	1635.00

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	SK-1
	Willoughby WWF-3603-FLR-FO
	4900.99

	
	P-Trap: McGuire C8912CECO
	63.78

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	
	

	SK-2
	Faucet: NO EQUAL
	487.00

	
	Drain: McGuire 151A
	66.78

	
	P-Trap: McGuire C8912CECO
	63.78

	
	Stops & Supplies: McGuire LF2165LK
	64.86

	
	Mixing Valve: Leonard 170D-LF
	211.00

	
	Insulation: McGuire PW2000
	161.48

	
	Continuous Waste: McGuire 111C16G17
	151.30

	
	
	

	UR-1
	Flush Valve: Delany S451-1-T42
	442.00

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	WC-1
	Stops & Supplies: McGuire LF2166LK
	39.22

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
