P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Police Support Building
	Quote #:
	91426-01R

	Location:
	Rogers, AR
	Bid Date:
	9/24/2026

	Architect:
	BRW
	Date:
	9/14/2026

	Engineer:
	CEC
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	EWC-1
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST02LK
	21.01

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y (With 5” Strainer)
	790.00

	
	
	

	FS-1
	Floor Sink: Josam 49320A-Y-NB-3
	5387.00

	
	
	

	L-1
	Faucet: T&S Brass 5EF-2D-DS
	735.50

	
	1070 Listed 3/8 TMV: Leonard 170A-LF
	196.00

	
	Offset Grid Drain: McGuire 155WCECO
	62.00

	
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2165LK (Loose Key)
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Lavatory Carrier: Josam 17100
	1635.00

	
	
	

	MS-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	S-1 
	Faucet: T&S Brass B-0892-135X
	487.50

	
	Stainless Steel Basket Strainer: McGuire 151A
	70.14

	
	1-1/2 x 1-1/2 P-Trap: McGuire C8912CECO
	66.99

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2165LK (Loose Key)
	68.10

	
	1070 Listed 3/8 TMV: Leonard 170A-LF 
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	SD
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-1
	1921.00

	
	5”-6” 21500-Z-22-1
	2424.00

	
	8”     21500-Z-22-1
	2923.00

	
	
	

	OSD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-17-1
	2301.00

	
	5”-6” 21500-Y-22-17-1
	2805.00

	
	8”     21500-Y-22-17-1
	3302.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
