P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Alma Police Headquarters 
	Quote #:
	10626-08R

	Location:
	Alma, AR
	Bid Date:
	10/14/2026

	Architect:
	WER
	Date:
	10/6/2026

	Engineer:
	HSA 
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	P-1-2
	Flush Valve: Delany 402-1.6-T42-SMO
	375.00

	
	
	

	P-3-4
	Flush Valve: Delany 451-1-T42-SMO
	375.00

	
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	P-5
	Faucet: T&S Brass NO EQUAL
	 

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155AECO
	33.39

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	Insulation: McGuire PW2000
	169.55

	
	Carrier: Josam 17100
	1635.00

	
	
	

	P-6
	Faucet: BRIGGS B1201
	487.00

	
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	P-7
	Mop Sink: Stern Williams SB-850
	964.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	 
	Faucet: T&S Brass B-0665BSTP
	371.00

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	P-16
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                  1-11 FIXTURES 
	914.00

	
	75000B                                                                                                12-32 FIXTURES
	1844.00

	
	75000C                                                                                                33-60 FIXTURES
	2771.00

	
	75000D                                                                                              61-113 FIXTURES
	6934.00

	
	75000E                                                                                            114-154 FIXTURES
	7828.00

	
	75000F                                                                                            155-330 FIXTURES
	9622.00

	
	
	

	P-17
	Tankless Water Heater: Rinnai RX199iN                                   
	2433.00

	
	Isolation Valves MIVK-T-LW
	138.00

	
	Does not include any venting, venting layout unknown
	

	
	Controller REU-MSB-M if needed
	308.00

	
	Slave REU-MSB-C1 if needed
	90.00

	
	EZ Connect Cable if needed REU-EZC-3
	85.00

	
	
	

	P-18
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	
	

	P-19
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	
	

	P-20
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	P-21
	Floor Cleanout: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
