P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Civic Plaza Building
	Quote #:
	102626-03R

	Location:
	Fayetteville, AR
	Bid Date:
	10/30/2026

	Architect:
	Modus
	Date:
	10/26/2026

	Engineer:
	Summit
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WC-1
	½” IPSx3/8” OD Stops & Supplies: McGuire LFH2166CCLK (HEAVY PATTERN COMPRESSION Loose Key)
	72.66

	
	
	

	L-1
	Faucet: T&S Brass ECW-3156
	946.50

	
	1070 Listed 3/8 TMV: Leonard 170A-LF
	196.00

	
	Offset Grid Drain: McGuire 155WC
	100.19

	
	1-1/4x1-1/4 P-Trap: McGuire C8902C
	90.55

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LFH2165CCLK (Loose Key)
	127.91

	
	Insulation: McGuire PW2000WC
	203.56

	
	Lavatory Carrier: Josam 17100
	1635.00

	
	
	

	MSB-1
	Mop Sink: Stern Williams HL-1810
	1014.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	 
	Faucet: T&S Brass B-0665BSTP
	361.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	S-1 
	Faucet: BRIGGS B1201
	687.00

	
	Stainless Steel Basket Strainer: McGuire 1151AWC
	162.10

	
	1-1/2 x 1-1/2 P-Trap: McGuire C8912C
	90.55

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LFH2165CCLK (Loose Key)
	127.91

	
	1070 Listed 3/8 TMV: Leonard 170A-LF 
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	FD-1
	Floor Drain: Josam 30000-6S-Y-SS (With 6” Strainer)
	2201.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FD-2
	Floor Drain: Josam 30000-6A-Y-SS (With 6” Strainer)
	2143.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FS-1
	Floor Sink: Josam 49300-Y-NB-3
	3618.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 21500-Z-22-3
	2370.00

	
	5”-6” 21500-Z-22-3
	2873.00

	
	8”     21500-Z-22-3
	3372.00

	
	
	

	OD-1
	Roof Drain: Josam  
	 

	
	2”-4” 21500-Y-22-16-3
	3066.00

	
	5”-6” 21500-Y-22-16-3
	3570.00

	
	8”     21500-Y-22-16-3
	4067.00

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	WCO
	Wall Cleanout: Josam W/ Round Cover
	

	
	3” 58604-COT3-PLG3
	853.00

	
	4” 58604-COT4-PLG4
	1255.00

	
	
	

	FCO
	Floor Cleanout With Nikaloy Top: Josam
	

	
	3” 55003-Z-SS-22
	2172.00

	
	4” 55004-Z-SS-22
	2539.00

	
	
	

	GCO
	Floor Cleanout With Cast Iron: Josam
	

	
	3” 58680-CO3-5-26-VP
	3743.00

	
	4” 58680-CO4-5-26-VP
	3838.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
