P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Creekfront 49 Lot 7
	Quote #:
	10526-08R

	Location:
	Springdale, AR
	Bid Date:
	ASAP

	Architect:
	Core
	Date:
	10/5/2026

	Engineer:
	Ee
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	HWC-1
	Flush Valve: Delany S402-1.6-T42
	442.00

	
	
	

	S-1 
	Faucet: T&S Brass NO PART # GIVEN 
	

	
	Drain: McGuire 151A
	70.14

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF2165LK
	68.10

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	HL-1
	Faucet: T&S Brass 5SL-1000
	123.50

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF170LK
	91.49

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	FPHB-1
	Hydrant: Josam 71300-11-1/4
	2638.00

	
	
	

	DS-1
	Josam
	

	
	2,3,4” 25014-T-BS
	1947.00

	
	6” 25016-T-BS
	3373.00

	
	8” 25018-T-BS
	4660.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	RD-1
	Roof Drain: Josam  
	

	
	2”-4” 22500-Y
	4125.00

	
	5”-6” 22500-Y
	5130.00

	
	8”     22500-Y
	6133.00

	
	DECK CLAMP IF NEEDED ADD -1
	804.00

	
	
	

	WCO
	Wall Cleanout: Josam
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	TWCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
