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www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS
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www.psaincorporated.com 
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Little Rock, AR 72205
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Quotation
Confidential Document

	  Project:
	Jasper Products 
	Quote #:
	10626-07R

	Location:
	Joplin, MO
	Bid Date:
	10/13/2026

	Architect:
	Hunter & Millard
	Date:
	10/6/2026

	Engineer:
	Conway Duncan 
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	WFH-HWFH
	Carrier: JOSAM  Horizontal L/R  12674/12684
	2629.00

	
	Back to Back Horizontal 12694
	4909.00

	
	Vertical L/R  12704/12714
	2978.00

	
	Back to Back Vertical 12724
	5263.00

	
	Single Add For “SDH” 750LBS
	882.00

	
	Back To Back Add For “SD” 750LBS
	1765.00

	
	Single Add For “XSD” 1000LBS
	1205.00

	
	Back To Back Add For “XSD” 1000LBS
	2410.00

	
	
	

	URH
	Carrier: Josam 17560-UR
	1381.00

	
	
	

	LVH
	Faucet: T&S Brass EC-3142-HW
	1360.50

	
	1070 Listed 3/8 TMV: Leonard 170A-LF
	196.00

	
	Offset Grid Drain: McGuire 155WCECO
	62.00

	
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2165LK (Loose Key)
	68.10

	
	Insulation: McGuire PW2000WC
	203.56

	
	Lavatory Carrier: Josam 17100
	1635.00

	
	
	

	MB-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	 
	Faucet: T&S Brass B-0665BSTR
	304.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	SK-1 
	Faucet: T&S Brass B-2866-05
	415.00

	
	Stainless Steel Basket Strainer: McGuire 151A
	70.14

	
	1-1/2 x 1-1/2 P-Trap: McGuire C8912CECO
	66.99

	
	½” IPSx3/8” OD Stops & Supplies: McGuire LF2165LK (Loose Key)
	68.10

	
	1070 Listed 3/8 TMV: Leonard 170A-LF 
	196.00

	
	Insulation: McGuire PW2000
	169.55

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	FDS
	Floor Drain: Josam 30000-5S-Y
	1062.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	FDR
	Floor Drain: Josam 30000-5A-Y
	790.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	CO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1-22
	1411.00

	
	4” 55004-Z-1-22
	1781.00

	
	
	

	WCO
	Wall Cleanout: Josam 4” SS WALL ACCESS COVER W/ CLEANOUT 
	

	
	3” 58604-CO3
	477.00

	
	4” 58604-CO4
	572.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
