P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Loveless South Yard 
	Quote #:
	10626-05R

	Location:
	Fayetteville, AR
	Bid Date:
	10/13/2026

	Architect:
	Stoke
	Date:
	10/6/2026

	Engineer:
	Prigm
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	FCO
	Floor Cleanout: Josam
	

	
	3” 55003-Z-1
	967.00

	
	4” 55004-Z-1
	1146.00

	
	With recessed top with thin flooring
	

	
	3” 55003-Z-1-13
	1679.00

	
	4” 55004-Z-1-13
	2053.00

	
	With tiled floors
	

	
	3” 55003-Z-1-SQ
	1096.00

	
	4” 55004-Z-1-SQ
	1466.00

	
	WITH CARPETED FLOORS ADD -14
	129.00

	
	IN UNFINISHED AREAS 
	

	
	3” 55003-Z-1-SD
	1356.00

	
	4” 55004-Z-1-SD
	1720.00

	
	UNFINISHED AREAS
	

	
	Floor Cleanout With Cast Iron Top: Josam
	

	
	3” 55003-Z
	967.00

	
	4” 55004-Z
	1146.00

	
	
	

	FD-1
	Floor Drain: Josam 30000-6A-Y
	973.00

	
	
	

	FD-2
	Floor Drain: Josam 32160-Y
	2262.00

	
	
	

	TMV-1
	Mixing Valve: Leonard 170D-LF
	211.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                  1-11 FIXTURES 
	914.00

	
	75000B                                                                                                12-32 FIXTURES
	1844.00

	
	75000C                                                                                                33-60 FIXTURES
	2771.00

	
	75000D                                                                                              61-113 FIXTURES
	6934.00

	
	75000E                                                                                            114-154 FIXTURES
	7828.00

	
	75000F                                                                                            155-330 FIXTURES
	9622.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
