P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Rise Baking Company
	Quote #:
	102226-02R

	Location:
	Springdale, AR
	Bid Date:
	10/27/2026

	Architect:
	Nielson
	Date:
	10/22/2026

	Engineer:
	HP
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	FD-1
	Floor Drain: Josam 30000-5A-Y (With 5” Strainer)
	790.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	HB-1
	Hydrant: Josam 71300-11-1/4
	2638.00

	
	
	

	L-1
	Faucet: T&S Brass B-2710
	381.00

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF170LK
	91.49

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	MB-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665BSTP
	381.50

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	S-1 
	Faucet: T&S Brass B-2866-05CR
	411.50

	
	Drain: McGuire 151M

	91.89

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF170LK
	91.49

	
	1070 Listed TMV: Leonard 170A-LF 
	196.00

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	WCO
	Wall Cleanout: Josam W/ Round Cover
	

	
	3” 58604-COT3-PLG3
	853.00

	
	4” 58604-COT4-PLG4
	1255.00

	
	OR
	

	WCO
	Wall Cleanout: Josam W/ SQUARE COVER
	

	
	3” 58642-COT3-PLG3
	1618.00

	
	4” 58642-COT4-PLG4
	2020.00

	
	
	

	WHA
	Water Hammer Arrestor: Josam
	

	
	75000A                                                                                                                     1-11 
	914.00

	
	75000B                                                                                                                   12-32
	1844.00

	
	75000C                                                                                                                   33-60
	2771.00

	
	75000D                                                                                                                 61-113
	6934.00

	
	75000E                                                                                                               114-154
	7828.00

	
	75000F                                                                                                               155-330
	9622.00

	
	
	

	EWC-1
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST02LK
	21.01

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
