P.S.A., Inc.

www.psaincorporated.com
PRICE CHANGE NOTICE

ALL PRICES VALID FOR 30 DAYS DUE TO TARIFFS

P.S.A., Inc.

www.psaincorporated.com 
#3200 S. Shackleford RD, Suite 16
Little Rock, AR 72205
Phone: (501) 312.8700

Fax: (501) 312.8701
Quotation
Confidential Document

	  Project:
	Wachter
	Quote #:
	101426-02R

	Location:
	Lowell, AR
	Bid Date:
	10/27/2026

	Architect:
	Modus
	Date:
	10/14/2026

	Engineer:
	HP
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QUOTE VALID FOR 30 DAYS FROM QUOTE DATE COMMENTS  \* MERGEFORMAT 
                                                          COMMENTS  \* MERGEFORMAT 
 ALL PRICES LIST UNLESS NOTED….CALL FOR DISCOUNTS
QUOTE VALID FOR 30 DAYS FROM QUOTE DATE (quote # above)
ALL PRODUCTS SUBJECT TO ENGINEER APPROVAL

	
	ITEMS
	LIST

	FD-1
	Floor Drain: Josam 30000-6A-Y (With 6” Strainer)
	973.00

	
	Trap Seal Insert: Josam
	

	
	2” 88242
	268.00

	
	3” 88243
	280.00

	
	3-1/2 88243-1/2
	293.00

	
	4” 88244
	319.00

	
	
	

	L-1
	Faucet: T&S Brass BP-2704
	559.50

	
	1070 Listed TMV: Leonard 170A-LF
	196.00

	
	Drain: McGuire 155WCECO
	62.00

	
	P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LF170LK
	91.49

	
	Insulation: McGuire PW2000WC
	203.56

	
	Carrier: Josam 17100
	1635.00

	
	
	

	MB-1
	Mop Sink: Stern Williams MTB-2424
	576.00

	
	BP Splash Panels: Stern Williams BP-2-24
	190.00

	
	Speedi Drain Connector: Stern Williams TC-3
	21.95

	 
	Faucet: T&S Brass B-0665-CRBSTRVR
	327.00

	
	Mop Hanger: T&S Brass B-0653
	99.90

	
	Hose & Hook: T&S Brass B-0654
	60.40

	
	
	

	SK-1
	Faucet: BRIGGS B1201
	487.00

	
	Drain: McGuire 151M

	91.89

	
	P-Trap: McGuire C8912CECO
	66.99

	
	Stops & Supplies: McGuire LF170LK
	91.49

	
	1070 Listed TMV: Leonard 170A-LF 
	196.00

	
	Continuous Waste: McGuire 111C16G17
	158.88

	
	
	

	TWCO-1
	Floor Cleanout: Josam
	

	
	3” 55003-Z-22
	1411.00

	
	4” 55004-Z-22
	1781.00

	
	
	

	UR-1
	Urinal Carrier: Josam 17560-UR 
	1381.00

	
	
	

	WCO
	Wall Cleanout: Josam 4” SS WALL ACCESS COVER W/ CLEANOUT 
	

	
	3” 58604-CO3-PLG3-VP
	744.00

	
	4” 58604-CO4-PLG4-VP
	973.00

	
	
	

	COTG-1
	Floor Cleanout With Cast Iron: Josam
	

	
	3” 58680-CO3-20
	2549.00

	
	4” 58680-CO4-20
	2644.00

	
	
	

	EWC-1
	1-1/4x1-1/4 P-Trap: McGuire C8872CECO
	63.06

	
	Stops & Supplies: McGuire LFST02LK
	21.01

	 
	Carrier Single Level: Josam 17560-WC
	1381.00

	
	Carrier Bi Level: Josam 17560-WCBL
	2168.00

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	ALL MCGUIRE ECO PRODUCTS ARE CASE QTY 25
	

	
	ALL PRODUCTS SUBJECT TO ENGINEERS APPROVAL
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


 COMMENTS  \* MERGEFORMAT 

 COMMENTS  \* MERGEFORMAT 
